Establishing Fire & Evacuation Procedures for your Business

| Information will you need for your Building Floor Plan |  |  |
| --- | --- | --- |
|  |  | or X depending on current status |
|  | Sketch a floor plan of your business, including any upper floors, workshops and stand-alone structures |  |
|  | Exit points |  |
|  | Location of fire extinguishers & equipment (e.g. blankets) |  |
|  | Location of the First Aid kits |  |
|  | Location of the Evacuation assembly point |  |

| Putting your plan into practice |  |
| --- | --- |
|  | Ensure that evacuation exits display lit “Exit” signs |
|  | Ensure that all fire exit doors conforms to standard |
|  | Educate all employees to keep exits clear & not block exits with equipment |
|  | Establish procedures, including the names of Fire Wardens |
|  | Ensure that a Fire Warden is present at all times |
|  | Keep a list of disabled or mobility-impaired employees who may need special assistance in the event of a fire or other emergency & ensure that this information is known to the Fire Wardens |
|  | Display Fire Evacuation Procedures in prominent locations around your business |
|  | Carry out an practise evacuation at least once a year, recording the time taken to evacuate, date and any concerns in your WHS Diary |

Note: The Fire Evacuation Procedures folder and a list of people in the workplace should be carried by the Fire Warden in the event of an evacuation, ensuring that;

- The floor plan is up-to-date (to provide to Fire Department staff)

- The Fire Warden can carry out an accurate head count at the assembly point